## Sheet1
| IgCC SECTION | Compliance Required (Yes or No) | Responsible Party | Location in documents (Ref. Sheet # location ID) | Required Benchmark | Achieved Benchmark | Notes
CHAPTER 4 - SITE DEVELOPMENT AND LAND USE
401.2 | Predesign site inventory and assessment. As in IgCC
402.1 | Protection by area. If wetlands or conservation areas are located on or adjacent to a lot, the development of the lot as a building site must comply with §§ 402.4 and 402.5 of this chapter.
402.2 | Flood hazard areas. NOT ADOPTED
402.3 | Surface water protection. NOT ADOPTED
402.4 | Wetland protection. As in IgCC
402.5 | Conservation area. Site disturbance or development of land in or within 50 feet (15,240 mm) of any designated conservation area is not permitted. Exception: As in IgCC
402.6 | Parkland. As in IgCC
402.7 | Agricultural land. NOT ADOPTED
402.8 | Greenfield sites. NOT ADOPTED
403 | Stormwater Management – NOT ADOPTED
404.1 | Landscape Irrigation and Outdoor Fountains:Landscape irrigation systems. -As in IgCC
404.1.1 | Water for outdoor landscape irrigation. As in IgCC
404.1.2 | Irrigation system design and installation. Where in-ground irrigation systems are provided, the systems must comply with all of the following: 1. the design and installation must be under the supervision of an irrigation professional accredited or certified by an appropriate local or national body, 2. microirrigation zones must be equipped with pressure regulators that ensure zone pressure is not greater than 40 psi (275.8 kPa), filters, and flush end assemblies, and 3. sprinklers: 3.1. must have nozzles with matched precipitation rates, 3.2. are prohibited on landscape areas less than 4 feet (1230 mm) in any dimension, 3.3. are prohibited on slopes greater than 1 unit vertical to 4 units horizontal (25% slope), Exception: Where the application rate of the sprinklers is less than or equal to 0.5 inches (12.7 mm) per hour. 3.4. are permitted for use on turfgrass and crop areas only, excepting microsprays of a flow less than 45 gallons (170 liters) per hour, 3.5. if of the pop-up configuration, must pop-up to a height of at least 4 inches (101 mm), and 3.6. may only be installed in zones composed exclusively of sprinklers and must be designed to achieve a lower quarter distribution uniformity of at least 0.65.
404.2 | Outdoor ornamental fountains and water features. As in IgCC
405 | Management of vegetation, soils, and erosion control. As in IgCC
405.1 | Soil and water quality protection. NOT ADOPTED Note: For special regulations and limitations governing soil erosion and sediment control, see City Code Article 7 “Natural Resources”, Division III “Soil Erosion and Sediment Control
405.2 | Vegetation and soil protection. As in IgCC
405.3 | Native plant landscaping. Where new landscaping is installed as part of a site plan or within the building site, at least 50% of the newly landscaped area must be planted with native plant species.
406 | Building Site Waste Management – As in IgCC
407.1 | Walkways and bicycle paths. As in IgCC.
407.2 | Changing and shower facilities. Buildings with a total building floor area greater than 10,000 sq. ft. and that are required to be provided with long-term bicycle parking and storage in accordance with Section 407.3 shall be provided with onsite changing room and shower facilities
407.3 | Bicycle parking and storage. Long-term and short-term bicycle parking shall be designated on the site plan as specified in Table 407.3. The required number of spaces shall be determined based on the net floor area of each primary use or occupancy of a building except where Table 407.3 specifies otherwise. Accessory occupancy areas shall be included in the calculation of primary occupancy area
407.3.1 | Short Term Bicycle Parking - 1. and 2. As in IgCC. 3. It must have an area of at least 18 inches by 72 inches for each bicycle. 4 and 5. As in IgCC.
407.3.2 | Long Term Bicycle Parking 1. - 2. – as in IgCC.I must have an area of at least 18 inches by 72 inches for each bicycle.4- 5. – as in IgCC.
407.4 | Preferred vehicle parking. parking provided at a building site must comply with this section. Preferred parking spaces required by this section must be those in the parking facility that are located on the shortest route of travel from the parking facility to a building entrance, but may not take precedence over parking spaces that are required to be accessible in accordance with the International Building Code. If a buildings has multiple entrances with adjacent parking, parking spaces required by this section must be dispersed and located near those entrances. These parking spaces must be provided with approved signage that specifies the permitted usage.
407.4.1 | High -Occupancy vehicle parking. As in IgCC
407.4.2 & 407.4.2.1 | Low-emission, hybrid, and electric vehicle parking. As in IgCC Low-emission, hybrid, and electric vehicles” defined. In this section, “low- emission, hybrid, and electric vehicles” means vehicles that: are classified as Zero Emission Vehicles by the California Air Resources Board; or have achieved a minimum green score of 40 on the annual vehicle rating guide of the American Council for an Energy Efficient Economy.
408.1 | Heat Island Mitigation - General - As in IgCC
408.2 | Site Hardscape Materials- At least 40% of the site hardscape must be provided with 1 or any combination of the options described in §§ 408.2.1 through 408.2.5. For the purposes of this section, site hardscape does not include areas of the site covered by solar photovoltaic arrays or solar thermal collectors.
4.8.2.2 | Shading by structure -As in IgCC
408.2.3 | Shading by trees - As in IgCC
408.2.4 | Pervious and permeable pavement - As in IgCC
408.2.5 | Porous Asphalt pavement - Porous asphalt pavements include open-graded asphalt mixtures with air voids of at least 16%. Porous asphalt pavements are permitted only where the use of these hardscapes does not interfere with: 1. access or egress of fire and emergency apparatus, vehicles, or personnel, 2. utilities, or 3. telecommunications lines.
408.3 | Roof Surfaces - At least 75% of the roof surfaces of the buildings and covered parking must be 1. a roof complying with 408.3.1, 2. covered with a vegetative roof complying with 408.3.2 or 3. a combination of these requirements. Exception- As in IgCC. 408.3.1 to 408.3.2 As in IgCC
409.1 | Light pollution control. Uplight, light trespass, and glare must be limited for all exterior lighting equipment as described in §§ 409.2 and 409.3. Exception: As in IgCC
409.1.1 | Exterior lighting zones. As in IgCC
409.2 | Uplight. As in IgCC
409.3 | Light trespass and glare. As in IgCC
4.10.1 | Drinking Fountains: Public areas. Drinking fountains that serve a public area must be equipped with at least 1 water-bottle filler.
4.10.1.1 | Public area defined. In this section "public area" means any building area to which the general public has free access.
CHAPTER 5 -MATERIAL RESOURCE CONSERVATION AND EFFICIENCY
501 | General - As in IgCC
502 | Construction Material Management- As in IgCC
503 | Construction material and waste management plan - As in IgCC: Note "certificate of occupancy" refers to an "occupancy permit".
504 | Waste Management and Recycling - As in IgCC But Note: The “certificate of occupancy” refers to an “occupancy permit”.
504
505.1 | Materials Selection and properties - As in IgCC
505.2. | Material selection - For any structure with a total building floor area greater than 25,000 sq. ft. (2323 m2), at least 50% of the total building materials used in the project, based on mass, volume, or cost, must comply with § 505.2.1, 505.2.2, 505.2.3, 505.2.4, or 505.2.5. If a material complies with more than one section, the material value is to be multiplied by the number of sections that it complies with. The value of total building material mass, volume, or cost must remain constant, regardless of whether materials are tabulated in more than one section.
505.2.1 | Used Materials and Components - As in IgCC
505.2.2 | Recycled Content building materials - As in IgCC
505.2.3 | Recyclable building materials and building components - As in IgCC
505.2.4 | Bio-based materials- As in IgCC
505.2.5 | Indigenous materials- As in IgCC.
506 | Lamps - As in IgCC
506.1 | Low Mercury Lamps- As in IgCC
506.2 | Straight Fluorescent lamps- As in IgCC
505.3 | Compact Fluorescent lamps - As in IgCC
507.1 | Moisture Control preventative measures - As in IgCC
CHAPTER 6 -ENERGY CONSERVATION AND CO2e EMISSION REDUCTION
601.1 - 601.2 | General - As in IgCC
601.3 | Application - buildings and their associated building sites must comply with §601.3.2
601.3.1 | Performance based compliance - NOT ADOPTED - option possible
601.3.2 | Prescriptive-based compliance - As in IgCC
602 | Modeled Performance Pathway Requirements - NOT ADOPTED
603 | Energy Metering, Monitoring and Reporting - As in IgCC
603.1 603.1.1 | Purpose. - As in IgCC; Buildings with tenants - As in IgCC
603.2 603.2.1 603.2.2 603.2.3 603.2.4 603.2.5 | Energy distribution design requirements and load type isolation in buildings. - As in IgCC
603.3 603.3.1 603.3.2 603.3.3 603.3.4 603.3.5 603.3.6 5603.3.7 603.3.7.1 603.3.7.2 603.3.7.3 603.3.7.4 603.3.7.5 | Energy type metering - As in IgCC
603.4 | Energy load type sub-metering - As in IgCC
603.5 603.5.1 | Minimum energy measurement and verification - As in IgCC
604 | Automated Demand Response Infrastructure - NOT ADOPTED {Note: For a "Project Elective" patterned after this section, See Appendix A, §A106.7.}
605 | Building Envelope Systems (Prescriptive) As in IgCC
605.1 605.1.1 605.1.2 605.1.2.2 605.1.2.3 | Prescriptive compliance - Building thermal envelope systems must comply with the provisions of sec. 402 of the International Energy Conservation Code and the provisions of sec. 606. Remainder - As in IgCC
605.2 | Roof Replacement - As in IgCC
606.0 606.1 606.2 606.3 606.4 606.5 606.7 606.8 606.9 | Building Mechanical Systems - Prescriptive compliance. Building Mechanical systems must comply with the provisions of the International Energy Conservation Code and the provisions of this section 606. Remainder - As in IgCC
607.0 607.1 607.2 607.3 607.4 607.5 607.6 607.7 | Building Service Water Heating Systems - Prescriptive compliance. Service water heating systems must comply with the provisions of the international Energy Conservation Code and the provisions of this sec. 607. Remainder - As in IgCC
608.0 608.1 608.1.1 608.1.2 608.1.3 | Building Electrical Power and Lighting Systems - General. Building electrical power and lighting systems must comply with the provisions of the International Energy Conservation Code and the provisions of this sec. 608. Remainder - As in IgCC
608.2 | Sleeping Unit Controls. As in IgCC
608.3 | Interior light reduction controls. As in IgCC
608.4 608.4.1 | Exterior light controls and Exterior light reduction. As in IgCC
608.4.2 | Exterior lighting and signage shutoff. NOT ADOPTED
608.5 | Automatic daylight controls. As in IgCC
608.6 | Plug load controls. As in IgCC
608.6.1 608.6.2 608.6.3 608.6.4 | Plug Load Controls - As in IgCC
608.6.5 608.6.6 | Plug Load Controls - (water dispensers/refrigerator and freezer cases) NOT ADOPTED
608.7 | Fuel gas lighting systems- As in IgCC
608.8 | Electrical system efficiency - As in IgCC
608.9 | Exterior Lighting - As in IgCC
608.1 | Verification of lamps and ballasts - As in IgCC
608.11 | Verification of lighting controls - As in IgCC
608.12 | Main electrical panel rating - As in IgCC
609.1 | Specific Appliances, Equipment - General - As in IgCC
609.2 | Permanent appliance and equipment. As in IgCC
609.2.1 | Elevators (all subsections) - NOT ADOPTED
609.2.2 | Escalators and moving walkways (all subsections) - NOT ADOPTED
609.2.3 | Commercial food service equipment -As in IgCC.
609.2.4 | Conveyors -As in IgCC.
610.1 | Renewable energy systems requirements. This section applies to each building that consumes energy. Each building (or its surrounding lot), or each building site on which multiple buildings are located, must be equipped with 1 or more renewable energy systems in accordance with this section. These renewable energy systems must:
1. comply with the following requirements:
610.1 | a. for solar photovoltaic systems, § 610.2 {“Solar photovoltaic systems”},
610.1 | b. for wind systems, § 610.3 {“Wind energy systems”}.
610.1 | c. for solar water heating systems, § 610.4 {“Solar water heating equipment”}, and
610.1 | d. for ground source heat exchange systems, § 610.5 {“Ground source heat exchange energy systems”}, and
2. comply with § 610.6 for performance monitoring and metering of these systems as approved by the Code Official
610.1 | Exception: Renewable energy systems are not required for the following: 1. buildings, or building sites on which multiple buildings are located, that provide at least 1% of the total estimated annual energy use of the building, or collective buildings on the site, with onsite renewable energy using a combination of renewable energy generation systems that comply with the requirements of § 610.2, § 610.3, § 610.4, or § 610.5, 2. buildings or sites where at least 2% of the total annual building energy consumption from renewable generation takes the form of a 10-year commitment to renewable energy credit ownership, confirmed by the Code Official, or 3. buildings or sites where the combined application of onsite generated renewable energy and a commitment to renewable energy credit ownership as confirmed by the Code Official totals at least 1.5% of the total annual building energy consumption from renewable generation.
610.1.1 | Building performance-based compliance - NOT ADOPTED
610.1.2 | Building prescriptive compliance. Buildings (or their surrounding lots), or building sites on which multiple buildings are located, that are designed and constructed in accordance with § 601.3.2 {“Prescriptive-based compliance”} must be equipped with 1 or more renewable energy systems that have the capacity to provide at least 1% of the total estimated annual energy use of the building, or collective buildings on the site, with onsite renewable energy by calculation demonstrating that onsite renewable energy production has a rating of at least 1.75 Btu/h (0.5 W) per square foot of conditioned floor area, and using any 1 or combination of renewable energy generation systems that comply with the requirements of § 610.2, § 610.3, § 610.4, or § 610.5.
610.2 | Solar photovoltaic systems. Solar photovoltaic systems must be sized to provide at least 1% of the total estimated annual electric energy consumption of the building, or collective buildings on the site, in accordance with § 610.1.1 “Building performance-based compliance” or § 610.1.2 “Building prescriptive compliance". Limitation. As in IgCC Requirements. As in IgCC
610.2.1 610.2.2 | Limitation and Requirements - As in IgCC
610.3 | Wind energy systems. Wind energy systems must be designed, constructed, and sized to provide at least 1% of the total estimated annual electric energy consumption of the building, or collective buildings on the site, in accordance with NFPA 70 and § 610.1.1 {“Building performance based compliance”} or § 610.1.2 {“Building prescriptive compliance”}
610.3.1 | Installation, location, structural requirements. As in IgCC
610.4 | Solar water heating equipment. At least 10% of the building’s annual estimated hot water energy usage must be supplied by onsite solar water heating equipment.
610.5 | Ground Source Heat Exchange energy systems. Must be designed, constructed, and sized to provide at least 1% of the total estimated annual electric energy consumption of the building, or collective buildings on the site, in accordance with § 610.1.1 {“Building performance based compliance”} or § 610.1.2 {“Building prescriptive compliance”}.
610.6 | Renewable energy system performance monitoring and metering. Renewable energy systems must be metered and monitored in accordance with §§ 610.6.1 and 610.6.2
610.6.1 | Metering. As in IgCC § 610.5.1
610.6.2 | Monitoring. As in IgCC § 610.5.2
611 | Energy Systems Commissioning and Completion – As in IgCC
CHAPTER 7 - WATER RESOURCE CONSERVATION, QUALITY AND EFFICIENCY
701 | General – As in IgCC
702 | Fixtures, Fittings, Equipment and Appliances - As in IgCC
702.1 | Fittings and fixture consumption - As in IgCC
702.2 | Combination tub and shower valves - As in IgCC
702.3 | Food establishment pre-rinse spray valves. - As in IgCC
702.4 | Drinking Fountain Controls - As in IgCC
702.5 | Nonwater urinal connection - As in IgCC
702.6 | Appliances - As in IgCC
702.7 | Municipal reclaimed water. NOT ADOPTED
702.8 | Efficient hot and tempered water distribution.- As in IgCC
702.9 | Trap priming water - As in IgCC
702.1 | Water-powered pumps. - As in IgCC
702.11 | Food service hand washing faucets - As in IgCC
702.12 | Dipper wells - As in IgCC
702.13 | Automated vehicle wash facilities - As in IgCC
702.14 | Self-service vehicle wash facilities - As in IgCC
702.15 | Vehicle washing facilities - As in IgCC
702.16 | Food waste disposers. - As in IgCC
702.17 | Combination ovens. - As in IgCC
702.18 | Autoclaves and sterilizers - As in IgCC
702.19 | Liquid ring vacuum pumps. - As in IgCC
702.2 | Film processors - As in IgCC
703 | HVAC Systems and Equipment – NOT ADOPTED
704 | Water Treatment Devices and Equipment – NOT ADOPTED
705 | Metering – NOT ADOPTED
706 | Nonpotable Water Requirements – As in IgCC (all subsections)
707 | Rainwater collection and distribution systems – As in IgCC (all subsections)
708 | Gray water systems – As in IgCC (all subsections)
709 | Reclaimed water systems – As in IgCC (all subsections)
CHAPTER 8 - INDOOR ENVIRONMENTAL QUALITY AND COMFORT
801 | General – As in IgCC
802 | Building Construction Features, Operations, Maintenance – As in IgCC
803 | HVAC Systems
803.1 | Construction phase requirements – As in IgCC
803.2 | Thermal environmental conditions for human occupancy – NOT ADOPTED
803.3 | Environmental tobacco smoke control – NOT ADOPTED
803.4 | Isolation of pollutant sources – NOT ADOPTED
803.5 | Filters - As in IgCC
804 | Specific Indoor Air Quality and Pollutant Control Measures
804.1 | Fireplaces and Appliances - As in IgCC
804.2 | Post-construction, pre-occupancy baseline IAQ testing. After all interior finishes are installed, the building must be tested for indoor air quality and the testing results must indicate that the levels of VOCs meet the levels detailed in Table 804.2 using testing protocols in accordance with ASTM D 6196, ASTM D 5466, ASTM D 5197, ASTM D 6345, and ISO 7708. Test samples must be taken in at least 1 location in each 25,000 SF of floor area or in each contiguous floor area.
805 | Prohibited Materials- As in IgCC
806 | Material Emissions and Pollutant Control
806.1 | Emissions from composite wood products- As in IgCC.
806.2 | Adhesives and sealants - As in IgCC.
806.3 | Architectural paints and coatings - As in IgCC.
806.4 | Flooring - As in IgCC.
806.5 | Acoustical ceiling tiles and wall systems –NOT ADOPTED
806.6 | Insulation –NOT ADOPTED
807 | Acoustics
807.1 | Sound transmission and sound levels. Buildings and tenant spaces must comply with the minimum sound transmission class and maximum sound level requirements of §§
807.2 through 807.4. Exception: As in IgCC
807.2 | Sound transmission - As in IgCC
807.3 | Sound levels - As in IgCC
807.4 | Structure-borne sounds - As in IgCC
807.5 | Special inspections for sound levels. NOT ADOPTED
807.6 | Special inspections for sound transmission. NOT ADOPTED
808 | Daylighting - As in IgCC
CHAPTER 9 - COMMISSIONING
901.1 | Scope. This chapter is intended to facilitate the commissioning of buildings constructed in accordance with this Code. Its requirements apply only to equipment and systems that are covered by this Code and are new or being wholly replaced
902.1 902.1.1 902.1.2 | The Code Official must determine the required qualifications of an approved agency for purposes of this chapter. Owner’s duties: For commissioning required by this Code, the owner must identify the individual or firm who will be performing the commissioning and providing the requisite certifications and verifications. Approved agency’s duties: The approved agency must comply with the commissioning requirements set forth in this Code
903.1 | General. Where application is made for construction as described in this section, the registered design professional in responsible charge or the approved agency must perform commissioning during construction as required by Table 903.1. The approved agency must be qualified and must demonstrate competence, to the satisfaction of the Code Official, for the commissioning of the particular type of construction or operation. The registered design professional in responsible charge and the engineer of record involved in the design of the project may act as the approved agency if those persons meet the required qualifications to the satisfaction of the Code Official
903.1 | Table 903.1 - (as amended) applicable sections to be completed and maintained by Approved Agency on behalf of Owner.
903.1.1 | Preoccupancy report requirement - NOT ADOPTED
903.1.2 | Post-occupancy report requirements - NOT ADOPTED
903.2 | Records and commissioning reports. The approved agency must: keep records of the commissioning required by Table 903.1, and furnish commissioning reports to the owner, the registered design professional in responsible charge, and on request, the Code Official.
903.2.1 | Scope of reports. These reports must indicate whether work was or was not completed in conformance to approved construction documents.
903.2.2 | Discrepancies. Discrepancies must be brought to the immediate attention of the contractor for correction. If the discrepancies are not corrected, they must be brought to the attention of the owner, the Code Official, and the registered design professional in responsible charge before completion of that phase of the work.
903.3 | Preliminary Commissioning Report. Before the final inspection, a Preliminary Commissioning Report must be provided to the owner and, on request, to the Code Official.
903.4 | Final Commissioning Report. Within 180 days after issuance of an occupancy permit, a Final Commissioning Report must be provided to the owner and, on request, to the Code Official.
CHAPTER 10 - EXISTING BUILDINGS
1001 | General - As in IgCC
1002 | Additions - As in IgCC
1003 | Alterations to existing buildings - As in IgCC
1004 | Change of occupancy - As in IgCC
1005 | Historic Buildings - As in IgCC
1006 | Demolition - As in IgCC
1007 | Jurisdictional Requirements - NOT ADOPTED
CHAPTER 11 - EXISTING BUILDING SITE DEVELOPMENT - AS IN IgCC
CHAPTER 12 - REFERENCED STANDARDS -AS IN IgCC
APPENDIX A - PROJECT ELECTIVES
Every project constructed in the City that triggers work completed pursuant to Chapters 4, 5, 6 AND 8, must select 2 electives from each of the following tables (as amended): A104, A105, A106, and A108. Electives selected to be identified below.